## Sheet 1
APPLICATION_NUMBER | YEAR | YEAR_TOTAL | MEDIAN_TOTAL_AF | AVERAGE_TOTAL_AF | QAQC_Action_Taken | QAQC_Reason | Staff
A024525 | 2017 | 118.61 | 14 |  | None | No clear indication of unit conversion errors | Aakash
D030850 | 2017 | 0.6 | 4.5e-06 |  | Replace January/February/March/April/November/December 2017 Storage with 0.0459 | In the 2014 report, they mention that about 12,000 cubic feet is lost to evaporation while reporting the same exact values as this report (they don't really use the water in the pond, they mainly report losses to evaporation). That number comes to almost 0.3 AF, so 0.6 AF is double that amount. Replacing 0.1 AF with 0.046 AF makes the total for the year approximately 12,000 cubic feet. | Aakash
D030850 | 2021 | 9e-06 |  |  | None | This pond is not an important water source for the user; no clear indication of unit conversion errors | Aakash
D030850 | 2022 | 3.6e-05 |  |  | None | This pond is not an important water source for the user; no clear indication of unit conversion errors | Aakash
D030850 | 2023 | 3.6e-05 |  |  | None | This pond is not an important water source for the user; no clear indication of unit conversion errors | Aakash
D030905 | 2017 | 3 | 0.005219 |  | Replace with 2019 monthly values | For the stated domestic use (1 person!), the 2017 and 2018 values seem to be more made-up than the reported values in later years. The values in 2017 and 2018 will be replaced with a more typical year's values (2019). | Aakash
D030905 | 2017 | 0.004912 |  |  | None | These are the corrected values | Aakash
D030905 | 2018 | 2.5 | 0.005219 |  | Replace with 2019 monthly values | For the stated domestic use (1 person!), the 2017 and 2018 values seem to be more made-up than the reported values in later years. The values in 2017 and 2018 will be replaced with a more typical year's values (2019). | Aakash
D030905 | 2018 | 0.004912 |  |  | None | These are the corrected values | Aakash
D030905 | 2019 | 0.004912 |  |  | None | For the stated domestic use (1 person!), the 2017 and 2018 values seem to be more made-up than the reported values in later years. The values in 2017 and 2018 will be replaced with a more typical year's values (2019). | Aakash
D030905 | 2020 | 0.005219 |  |  | None | For the stated domestic use (1 person!), the 2017 and 2018 values seem to be more made-up than the reported values in later years. The values in 2017 and 2018 will be replaced with a more typical year's values (2019). | Aakash
D030905 | 2021 | 0.003684 |  |  | None | For the stated domestic use (1 person!), the 2017 and 2018 values seem to be more made-up than the reported values in later years. The values in 2017 and 2018 will be replaced with a more typical year's values (2019). | Aakash
S015014 | 2022 | 0.1964 | 2.486 | 3716.0383 | None | No clear indication of unit conversion errors | Aakash
S015014 | 2023 | 26000 |  |  | Convert from gallons to AF (Storage) | If the gallons-to-AF conversion is applied to these values, they become more similar to previously reported numbers. | Aakash
S015648 | 2021 | 0.1 |  |  | None | No clear indication of unit conversion errors | Aakash
S015648 | 2022 | 8.6 | 0.05 |  | None | The measurement spreadsheets aren't easy to decipher, so it's difficult to say whether there are any errors. | Aakash
S018168 | 2018 | 4.14 | 22607.07 |  | None | In the 2017 report and prior, there was a "Rate of Diversion (GPD)" column. But, starting in 2018, the formatting of the report changed. In the 2019 and later reports, the user placed their "Rate of Diversion" values into the "Amount directly diverted" column. 2018 was the only year where they did not make this mistake. In general, the user's direct diversion values match their beneficial use values, so the replacement values in other years are intended to follow this trend. | Aakash
S018168 | 2019 | 4.14 | 4.14 | 5384.2426 | Replace May/June/July/August/September/October 2019 Direct with 0.69 | Please see the explanation in the "2018" entry for this right | Aakash
S018168 | 2020 | 4.14 | 4.14 | 5384.2426 | Replace May/June/July/August/September/October 2020 Direct with 0.69 | Please see the explanation in the "2018" entry for this right | Aakash
S018168 | 2021 | 2.07 | 4.14 | 5384.2426 | Replace April/May/June 2021 Direct with 0.69 | Please see the explanation in the "2018" entry for this right | Aakash
S018168 | 2022 |  |  |  | Replace April/May/June 2022 Direct with 0.023124 | Please see the explanation in the "2018" entry for this right | Aakash
S018168 | 2023 | 37675 |  |  | Replace May/June/July/August/September 2023 Direct with 0.69 | Please see the explanation in the "2018" entry for this right | Aakash
S021346 | 2017 | 123 | 9.5 |  | None | No clear indication of unit conversion errors | Aakash
S021346 | 2023 | 5 |  |  | None | No clear indication of unit conversion errors | Aakash
S021351 | 2017 | 154 | 44 | 82.7143 | None | No clear indication of unit conversion errors | Aakash
S021351 | 2019 | 149 | 44 | 82.7143 | None | No clear indication of unit conversion errors | Aakash
S021351 | 2020 | 155 | 44 | 82.7143 | None | No clear indication of unit conversion errors | Aakash
D030793 | 2018 | 120 | 0 |  | Convert from gallons to AF (Direct) | There is definitely a unit conversion error here because the face value is 7 AF. The uncertainty lies in what the intended units were. Other reports only contain 0 AF, so they cannot be used to estimate typical usage. 120 gallons feels like too small of a usage volume, but it might be okay since it's a domestic water right. | Aakash